Direct Observation of Practical Skills (DOPS) Checklist

|  |  |
| --- | --- |
| **Procedure** | **Ear temperature** |

|  |  |
| --- | --- |
| Domain | Comment |
| **H**ello – introduction/ consent**E**xposure/explain**L**ighting/ setup**P**osition – seated / comfortable |  |
| Ensure device is clean and working  |  |
| Applies new disposable cover to probe ensuring minimal contact with cover |  |
| Confirms ear is not sore |  |
| Gently pulls back pinna |  |
| Inserts covered probe fully into ear canal (down / towards face)  |  |
| Holds measurement button 1 sec |  |
| Reads value |  |
| Disposes of cover hygienically |  |
| Documents result |  |